## TC11
[5 empty] | Elevator | Test_Object
[5 empty] | 11 | TestCase_ID
[5 empty] | Safety Trigger Check(Survival and Recovering) | Tast_Name
[5 empty] | 17,12,23 | Date
[5 empty] | Karetnikov.A | Writer
[5 empty] | Karetnikov.A | Tester
[5 empty] | Ready for Testing | Status
[5 empty] | HIGH | Priority
[5 empty] | 1 | Cycle
Related issue # | Remarks | Pass/Failed | Actual Result | Expected Result | Description | Steps#
|  |  |  | The button is blue(63.14.242) | Go to the elevator and press the elevator call button | 1
|  |  |  | The elevator arrived in 3-6 min | Wait for the elevator to arrive | 2
|  |  |  | Doors opened in 3 seconds | wait for the doors to open | 3
|  |  |  | button 10 floor blue(63,14,242) doors close (3 seconds) and the elevator rises to 10 floors | Send an elevator to the 10th floor (simulating the presence of a person) | 4
|  |  |  | The elevator went up to the 10th floor | wait for the elevator to rise to the 10th floor | 5
|  |  |  | Rescue system activated (elevator descended to 1 floor) | Turn on the rescue system | 6

## TC10
[5 empty] | Elevator | Test_Object
[5 empty] | 10 | TestCase_ID
[5 empty] | Access check for people in an involid wheelchair(Acesability) | Tast_Name
[5 empty] | 17,12,23 | Date
[5 empty] | Karetnikov.A | Writer
[5 empty] | Karetnikov.A | Tester
[5 empty] | Ready for Testing | Status
[5 empty] | HIGH | Priority
[5 empty] | 1 | Cycle
Related issue # | Remarks | Pass/Failed | Actual Result | Expected Result | Description | Steps#
|  |  |  | The button is blue(63.14.242) | Go to the elevator and press the elevator call button(using a wheelchair) | 1
|  |  |  | The elevator arrived in 3-6 min | Wait for the elevator to arrive | 2
|  |  |  | Doors opened in 3 seconds | wait for the doors to open | 3
|  |  |  | The button of the 10th floor lit up blue(63,14,242) and the doors began to close within 3 seconds | Enter the elevator in a wheelchair and press the button 10 (which is at the top of everyone) | 4
|  |  |  | The elevator went up to the 10th floor and the door opened in 3 seconds | wait for the elevator to rise to the 10th floor and the door to open (3 seconds) | 5
|  |  |  | I managed to get out of the elevator | Exit the elevator using a wheelchair | 6

## TC9
[5 empty] | Elevator | Test_Object
[5 empty] | 9 | TestCase_ID
[5 empty] | Checking the Dispatcher's Call(Interface test) | Tast_Name
[5 empty] | 17,12,23 | Date
[5 empty] | Karetnikov.A | Writer
[5 empty] | Karetnikov.A | Tester
[5 empty] | Ready for Testing | Status
[5 empty] | HIGH | Priority
[5 empty] | 1 | Cycle
Related issue # | Remarks | Pass/Failed | Actual Result | Expected Result | Description | Steps#
|  |  |  | The button is blue(63.14.242) | Go to the elevator and press the elevator call button | 1
|  |  |  | The elevator arrived in 3-6 min | Wait for the elevator to arrive | 2
|  |  |  | Doors opened in 3 seconds | wait for the doors to open | 3
|  |  |  | Communication with the dispatcher up to 5 minutes | Enter the elevator and call the dispatcher | 4

## TC8
[5 empty] | Elevator | Test_Object
[5 empty] | 8 | TestCase_ID
[5 empty] | Checking the load capacity of the elevator(Boudery valley-negativ,load Test) | Tast_Name
[5 empty] | 17,12,23 | Date
[5 empty] | Karetnikov.A | Writer
[5 empty] | Karetnikov.A | Tester
[5 empty] | Ready for Testing | Status
[5 empty] | HIGH | Priority
[5 empty] | 1 | Cycle
Related issue # | Remarks | Pass/Failed | Actual Result | Expected Result | Description | Steps#
|  |  |  | The button is blue(63.14.242) | Go to the elevator and press the elevator call button | 1
|  |  |  | The elevator arrived in 3-6 min | Wait for the elevator to arrive | 2
|  |  |  | Doors opened in 3 seconds | wait for the doors to open | 3
|  |  |  | Error report | Enter the elevator 11 persons and click on 10 floors | 4

## TC7
[5 empty] | Elevator | Test_Object
[5 empty] | 7 | TestCase_ID
[5 empty] | Checking the load capacity of the elevator(Boudery valley-positiv,Load Test) | Tast_Name
[5 empty] | 17,12,23 | Date
[5 empty] | Karetnikov.A | Writer
[5 empty] | Karetnikov.A | Tester
[5 empty] | Ready for Testing | Status
[5 empty] | HIGH | Priority
[5 empty] | 1 | Cycle
Related issue # | Remarks | Pass/Failed | Actual Result | Expected Result | Description | Steps#
|  |  |  | The button is blue(63.14.242) | Go to the elevator and press the elevator call button | 1
|  |  |  | The elevator arrived in 3-6 min | Wait for the elevator to arrive | 2
|  |  |  | Doors opened in 3 seconds | wait for the doors to open | 3
|  |  |  | The 10th floor button lights up blue | Enter the elevator 10 persons and click on 10 floors | 4
|  |  |  | Doors opened/Closes in 3 seconds | wait for the doors to close | 5

## TC6
[5 empty] | Elevator | Test_Object
[5 empty] | 6 | TestCase_ID
[5 empty] | Checking the Switch to Shabbat Mode (Negative)(Securyty Test) | Tast_Name
[5 empty] | 17,12,23 | Date
[5 empty] | Karetnikov.A | Writer
[5 empty] | Karetnikov.A | Tester
[5 empty] | Ready for Testing | Status
[5 empty] | HIGH | Priority
[5 empty] | 1 | Cycle
Related issue # | Remarks | Pass/Failed | Actual Result | Expected Result | Description | Steps#
|  |  |  | The button is blue(63.14.242) | Go to the elevator and press the elevator call button | 1
|  |  |  | The elevator arrived in 3-6 min | Wait for the elevator to arrive | 2
|  |  |  | Doors opened in 3 seconds | wait for the doors to open | 3
|  |  |  | I couldn't switch the system to Shabbat mode | Enter the elevator and try to switch the system with the wrong key | 4

## TC5
[5 empty] | Elevator | Test_Object
[5 empty] | 5 | TestCase_ID
[5 empty] | Checking the Switch to Shabbat Mode (Postive)(Securyty Test) | Tast_Name
[5 empty] | 17,12,23 | Date
[5 empty] | Karetnikov.A | Writer
[5 empty] | Karetnikov.A | Tester
[5 empty] | Ready for Testing | Status
[5 empty] | HIGH | Priority
[5 empty] | 1 | Cycle
Related issue # | Remarks | Pass/Failed | Actual Result | Expected Result | Description | Steps#
|  |  |  | The button is blue(63.14.242) | Go to the elevator and press the elevator call button | 1
|  |  |  | The elevator arrived in 3-6 min | Wait for the elevator to arrive | 2
|  |  |  | Doors opened in 3 seconds | wait for the doors to open | 3
|  |  |  | The system switched to Shabbat mode | Enter the elevator and switch to Shabbat mode (using the appropriate key) | 4

## TC4
[5 empty] | Elevator | Test_Object
[5 empty] | 4 | TestCase_ID
[5 empty] | Checking the movement of the elevator between floors(usability,baudery valley) | Tast_Name
[5 empty] | 17,12,23 | Date
[5 empty] | Karetnikov.A | Writer
[5 empty] | Karetnikov.A | Tester
[5 empty] | Ready for Testing | Status
[5 empty] | HIGH | Priority
[5 empty] | 1 | Cycle
Related issue # | Remarks | Pass/Failed | Actual Result | Expected Result | Description | Steps#
|  |  |  | The button is blue(63.14.242) | Go to the elevator and press the elevator call button | 1
|  |  |  | The elevator arrived in 3-6 min | Wait for the elevator to arrive | 2
|  |  |  | Doors opened/Closes in 3 seconds | wait for the doors to open | 3
|  |  |  | Button number 10 lit up blue(63.14.242) | Enter the elevator and press the 10th floor | 4
|  |  |  | Doors opened/Closes in 3 seconds | wait for the doors to close | 5
|  |  |  | The elevator went up to the 10th floor | wait for the elevator to rise to the 10thfloor | 6
|  |  |  | Doors opened/Closes in 3 seconds | wait for the doors to open | 7

## TC3
[5 empty] | Elevator | Test_Object
[5 empty] | 3 | TestCase_ID
[5 empty] | Checking the movement of the elevator between floors(usability,baundery valley) | Tast_Name
[5 empty] | 17,12,23 | Date
[5 empty] | Karetnikov.A | Writer
[5 empty] | Karetnikov.A | Tester
[5 empty] | Ready for Testing | Status
[5 empty] | HIGH | Priority
[5 empty] | 1 | Cycle
Related issue # | Remarks | Pass/Failed | Actual Result | Expected Result | Description | Steps#
|  |  |  | The button is blue(63.14.242) | Go to the elevator and press the elevator call button | 1
|  |  |  | The elevator arrived in 3-6 min | Wait for the elevator to arrive | 2
|  |  |  | Doors opened/Closes in 3 seconds | wait for the doors to open | 3
|  |  |  | Button number 5 lit up blue(63.14.242) | Enter the elevator and press the 5nd floor | 4
|  |  |  | Doors opened/Closes in 3 seconds | wait for the doors to close | 5
|  |  |  | The elevator went up to the 5nd floor | wait for the elevator to rise to the 5nd floor | 6
|  |  |  | Doors opened/Closes in 3 seconds | wait for the doors to open | 7

## TC2
[5 empty] | Elevator | Test_Object
[5 empty] | 2 | TestCase_ID
[5 empty] | Checking the movement of the elevator between floors(Usability,baudery valley) | Tast_Name
[5 empty] | 17,12,23 | Date
[5 empty] | Karetnikov.A | Writer
[5 empty] | Karetnikov.A | Tester
[5 empty] | Ready for Testing | Status
[5 empty] | HIGH | Priority
[5 empty] | 1 | Cycle
Related issue # | Remarks | Pass/Failed | Actual Result | Expected Result | Description | Steps#
|  |  |  | The button is blue(63.14.242) | Go to the elevator and press the elevator call button | 1
|  |  |  | The elevator arrived in 3-6 min | Wait for the elevator to arrive | 2
|  |  |  | Doors opened/Closes in 3 seconds | wait for the doors to open | 3
|  |  |  | Button number 2 lit up blue(63.14.242) | Enter the elevator and press the 2nd floor | 4
|  |  |  | Doors opened/Closes in 3 seconds | wait for the doors to close | 5
|  |  |  | The elevator went up to the 2nd floor | wait for the elevator to rise to the 2nd floor | 6
|  |  |  | Doors opened/Closes in 3 seconds | wait for the doors to open | 7

## TC1
[5 empty] | Elevator | Test_Object
[5 empty] | 1 | TestCase_ID
[5 empty] | Checking the Elevator Call (Sanyty Test) | Tast_Name
[5 empty] | 17,12,23 | Date
[5 empty] | Karetnikov.A | Writer
[5 empty] | Karetnikov.A | Tester
[5 empty] | Ready for Testing | Status
[5 empty] | HIGH | Priority
[5 empty] | 1 | Cycle
Related issue # | Remarks | Pass/Failed | Actual Result | Expected Result | Description | Steps#
|  |  |  | The button is blue(63.14.242) | Go to the elevator and press the elevator call button | 1
|  |  |  | The elevator arrived in 3-6 min | Wait for the elevator to arrive | 2
|  |  |  | Doors opened in 3 seconds | wait for the doors to open | 3